## #1 노드리스트
노드순서 | 노드명
1 | Hydrogen Gas Cabinet
2 | Hydrogen VMB
3 | Ammonia Storage
4 | Ammonia Vaporizer
5 | IPA Day Tank
6 | Solvent Distribution
7 | Nitrogen Purge Header
8 | DI Water Cooling Loop
9 | Process Reactor
10 | Abatement 및 Exhaust

## #2 가이드워드
노드순서 | 노드명 | 변수 | 가이드워드
1 | Hydrogen Gas Cabinet | Containment | Leak
1 | Hydrogen Gas Cabinet | Containment | Rupture
1 | Hydrogen Gas Cabinet | Pressure | High
1 | Hydrogen Gas Cabinet | Pressure | Low
2 | Hydrogen VMB | Flow | More
2 | Hydrogen VMB | Flow | Less
2 | Hydrogen VMB | Flow | No
2 | Hydrogen VMB | Flow | Reverse
3 | Ammonia Storage | Level | More
3 | Ammonia Storage | Level | Less
3 | Ammonia Storage | Containment | Leak
4 | Ammonia Vaporizer | Temperature | High
4 | Ammonia Vaporizer | Temperature | Low
4 | Ammonia Vaporizer | Pressure | High
5 | IPA Day Tank | Level | More
5 | IPA Day Tank | Level | Less
5 | IPA Day Tank | Grounding | No
6 | Solvent Distribution | Flow | No
6 | Solvent Distribution | Flow | Reverse
6 | Solvent Distribution | Containment | Leak
7 | Nitrogen Purge Header | Flow | No
7 | Nitrogen Purge Header | Flow | Less
8 | DI Water Cooling Loop | Cooling | No
8 | DI Water Cooling Loop | Cooling | Less
9 | Process Reactor | Temperature | High
9 | Process Reactor | Temperature | Low
9 | Process Reactor | Pressure | High
9 | Process Reactor | Pressure | Low
9 | Process Reactor | Sequence | Early
9 | Process Reactor | Sequence | Late
10 | Abatement 및 Exhaust | Treatment | No
10 | Abatement 및 Exhaust | Treatment | Less
10 | Abatement 및 Exhaust | Flow | Reverse

## #3 위험성평가
No | 노드순서 | 노드명 | 변수 | 가이드워드 | 일탈 | 원인 | 결과 | 현재안전조치 | 빈도 | 강도 | 위험도 | 위험도판단 | 조치필요여부 | 판단근거 | 강도근거 | 빈도근거 | 비고

## #4 조치계획서
No | 위험성평가No | 노드명 | 개선권고사항 | 조치후빈도 | 조치후강도 | 조치후위험도 | 근거 | 비고

## 위험도기준
구분 | 점수 | 기준
빈도 | 1 | 10년에 1회 정도 발생할 경우 또는 없을 경우
빈도 | 2 | 5년에 1회 정도 발생할 경우
빈도 | 3 | 1년에 1회 정도 발생할 경우
빈도 | 4 | 1개월 1회 정도 발생할 경우
빈도 | 5 | 1일 1회 정도 발생할 경우
강도 | 1 | 영향없음, 이상등급/관리사고
강도 | 2 | 경미한 불휴업 재해, C급/준사고
강도 | 3 | 경미한 휴업 재해, B급 경미재해
강도 | 4 | 중대재해, A급 사망 등 중대재해
위험도 | 1~3 | 무시할 수 있는 위험 - 현재 안전대책 유지
위험도 | 4~6 | 미미한 위험 - 안전정보 및 주기적 표준작업안전 교육 필요
위험도 | 8 | 경미한 위험 - 표지부착, 작업절차서 표기 등 관리적 대책 필요
위험도 | 9~11 | 상당한 위험 - 계획된 정비/보수기간에 위험성 감소대책 필요
위험도 | 12~15 | 중대한 위험 - 긴급 임시안전대책 후 계획 정비/보수기간에 안전대책 필요
위험도 | 16~20 | 허용불가 위험 - 즉시 작업중단 및 즉시 개선 필요